## Slide 1: Spice-troscopy: A tongue-searing experimental approach to undergraduate instrumental analysis.
Grady Blacken
Rick Glover
Bellevue College

## Slide 2
Connecting physical sciences to physical senses.
Differentiating instruction
  Multi-modal: Visual, palatable, kinesthetic
  Incorporate group work and intergroup collaboration
  Assessment strategies: formal/informal assessment
Motivate students toward inquiry
Relating Abstract Concepts to Student Lives

## Slide 3: Implementing inquiry
Challenges
Lack of quantitative measures of effectiveness in implementing inquiry into undergraduate education (Beck et al, 2014).
Navigating the challenges of introducing inquiry based labs into science curricula: Student attitudes, instructor workload, funding. (Facayode, 2014)
Stimulate student interest in science careers and retention in upper level science courses. (Kerr and Yan, 2016).
Notes: Grady

## Slide 4: How do we get students to do “science”?
Pique interest
Form hypothesis
Chart: 
| Thai Chili | Korean pepper | Habeniero | Mace
Hypothesis | 10 | 5 | 30 | 100
Make mistakes
Provide tools/instruction
Method optimization
-Capsaicin extraction
-HPLC analysis
Provide support/confidence
Revise hypothesis
Chart: 
| Thai Chili | Korean pepper | Habeniero | Mace
 | 23.388 | 5.354 | 71.43 | 0
Instructor’s role
Student’s role
Notes: Grady

## Slide 5: Transition from student to professional
These activities are difficult to achieve in a traditional three hour lab session, so we changed the format.
Student Comment: “Descriptions of the lab from Standard Methods wasn’t really clear. It looked more like a reference for professionals than a guide for people performing it for the first time”
Lab competence with a basic protocol
Working in groups
Troubleshooting experimental parameters
Options to support differentiation/student voice
Desired Student Experience
  Background information , self-training , and method development
  Practice or introductory activity to get their feet wet on the instrument
  Analysis of complex samples
  Troubleshooting and method optimization
  Challenge question/application
Structure of Individual Lab Activity

## Slide 6: Modular inquiry-based lab activities
Students worked at their own pace
  Built confidence with online tutorials
  Practice task management
Learning logistical problem solving
  Students shared a small instrumentation facility.
  Verifiable results: Labs center on abundant, well-characterized molecules.
Relevant inquiry: Provides experiences with messy data and an opportunity to troubleshoot and refine methods.
Measurements and Statistics Unit
Spectroscopy Unit
Chromatography Unit
UV-Vis Protein Assay
FT-IR Plastics Identification
UV-Vis Peroxidase Analysis
Subject units that lasted for 3-4 weeks
Multiple individual lab activities due at the end of the unit
Activities contained self-guided and teacher-guided elements
Scaffolding toward more and more complex challenges.

## Slide 7: Basic idea
capsaicin
dihydrocapsaicin
HPLC-UV analysis of capsaicinoids
Students analyze molecular components of food by spectroscopic methods
1. HPLC with UV absorbance detection (capsaicin in peppers)
2. Colorimetric assay with chromogenic enzyme substrates (HRP).
Peroxidase activity assay
blue
yellow
Notes: Grady

## Slide 8: Capsaicin analysis
Blended pepper (5g) + ethanol ~ 15 mL total. Cover/heat 30 min
Decant into 25 mL volumetric flask, dilute to mark with EtOH
Calibration
Students are given a 1 mg/mL capsaicin standard along with a rough LOD and LOQ that they must validate.
Filter through 0.45 mm filter
Extraction
minutes
%B
70
30
3
10
A: H2O (1% formic acid)
B: CH3CN (1% formic acid)
measure A280nm
12
HPLC method
Notes: Grady

## Slide 9: Data analysis
Chart: Capsaicin calibration
| 0.02 | 0.2 | 2.0
Dina | 1884 | 111195 | 1440462
y = 731390x – 23382
R2 = 0.9998
Chart: Capsaicin (g/mL)
| Thai Chili | Korean pepper | Habeniero | Mace
 | 23.388 | 5.354 | 71.43 | 0
Example of Student Calculation:
Thai chili pepper
3 replicates: average peak area: 4563530 standard deviation: 135581
4563530 = 731390x – 23382
x = 23,388 mg/mL
Capsaicin in peppers
Notes: Grady

## Slide 10: Peroxidase analysis
Blended horseradish (1.5g) + 300 mL H2O
Mix/blend
Filter through Buchner funnel
Measuring peroxidase activity
Mix 1 mL extract, 2 mL cold dH2O, 60 mL citrate buffer (pH 6.0) and 100 mL of 3% TMB in small test tube.
Transfer to cuvette and add 100 mL of 3% H2O2. Mix and record A650nm every 30s.
Extraction
Chart: Horseradish
| 0.0 | 15.0 | 30.0 | 45.0 | 60.0 | 75.0 | 90.0 | 105.0 | 120.0 | 135.0 | 150.0 | 165.0 | 180.0
Horseradish Absorbance | 0 | 0.296 | 0.53 | 0.688 | 0.815 | 0.96 | 1.045 | 1.14 | 1.23 | 1.31 | 1.38 | 1.46 | 1.52
Chart: Daikon Radish (250μl extract used)
| 0.0 | 15.0 | 30.0 | 45.0 | 60.0 | 75.0 | 90.0 | 105.0 | 120.0 | 135.0 | 150.0 | 165.0 | 180.0
 | 0 | 0.46 | 0.915 | 1.36 | 1.66 | 1.9 | 1.99 | 1.99 | 1.99 | 1.99 | 1.99 | 1.99 | 1.99
Chart: 
| 0.0 | 15.0 | 30.0 | 45.0 | 60.0 | 75.0 | 90.0 | 105.0 | 120.0 | 135.0 | 150.0 | 165.0 | 180.0
Carrot Absorbance | 0 | 0.215 | 0.365 | 0.492 | 0.59 | 0.692 | 0.768 | 0.88 | 0.955 | 1.025 | 1.09 | 1.14 | 1.19
Chart: Broccoli
| 0.0 | 15.0 | 30.0 | 45.0 | 60.0 | 75.0 | 90.0 | 105.0 | 120.0 | 135.0 | 150.0 | 165.0 | 180.0
 | 0 | 0.295 | 0.622 | 0.87 | 1.15 | 1.31 | 1.44 | 1.56 | 1.72 | 1.9 | 1.99 | 1.99 | 1.99
Notes: Grady with animations

## Slide 11: Student work 1
According to google information for Thai Chili Scoville scale, it listed 50,000 – 100,000. The value gather from the lab is 50 times less. The Thai chili we have may be of a variety that is not real Thai pepper. Also, the peppers were not fully ripe yet. Subjective testing by biting into one is not considered very scientific since different people have different tolerance for spiciness.
“The approximate concentration of the habanero extract was determined to be 0.026 g capsaicin per gram of habanero pepper. However, this concentration does not fall within the linear range of the calibration curve, meaning it may not be accurate. This experiment could have been improved by adding more points to the calibration curve, including a point for the undiluted standard solution (10 mg/mL). Another option would have been to further dilute the habanero extract so that it falls in the range of the calibration curve. Originally, the habanero extract was diluted to 1/100th of its original concentration. However, no peak for capsaicin appeared for this diluted sample on the chromatogram and so an undiluted sample was run.”
Student work 2:
Notes: Rick

## Slide 12: Student evaluation of experiments
The following are items that students liked or learned from the lab activities:
Horseradish Peroxidase Spectroscopy
Capsaicin HPLC Analysis
“I felt like I could have kept messing around with different concentrations of potato, etc.”
“It was fun because we got to bring peppers we were curious about in to class [to analyze]”
“It was interesting to quantify how hot peppers were”
“Learning about enzymes in food”
“I learned that mace has no capsaicin”
“I learned how to create a standard curve”
“I learned how to adjust the reactants when the activity of an enzyme was too high to measure”
“I learned how to problem solve when the reaction was not proceeding correctly”
“I learned how to do a water extraction and read a chromatogram”
“I learned how to calculate a concentration from a calibration curve”
“You must be very careful to maintain a blank and periodically calibrate the instrument”

## Slide 13: Student evaluation of experiments
The following are items that students disliked or from the lab activities:
Horseradish Peroxidase Spectroscopy
Capsaicin HPLC Analysis
“Trying to figure out how to properly use the UV-Vis”
“It took us three tries to get workable (-ish?) data”
“More student members needed to bring materials in to compare”
“Very sensitive machine required a standardizing blank before starting”
“The HPLC analysis takes long enough to run that we cannot see results returned in real time”
“Procedure needed some modification”
“Time consuming!”
“Trying to figure out how to do the dilutions for the calibration curve within a volume that would fit into the sample vial”
“Grinding took a long time”
Notes: Rick

## Slide 14: Future directions
Less is more
Need to be more clear with students about their goals and learning objectives
  It's not about getting the right answer, but understanding the answer they get and clearly communicating it
Use this model to develop modular labs for gen chem on down (incorporating inquiry starting with higher level classes)
Apply quantitative measures of assessment to measure effectiveness of instruction
Seek funding and ideas to promote development of new labs and access to greater number of students
Notes: Melee, crazy fun, eye gouging

## Slide 15: Just in case slide: HRP assay data
Chart: 
| 0.0 | 15.0 | 30.0 | 45.0 | 60.0 | 75.0 | 90.0 | 105.0 | 120.0 | 135.0 | 150.0 | 165.0 | 180.0
Carrot Absorbance | 0 | 0.215 | 0.365 | 0.492 | 0.59 | 0.692 | 0.768 | 0.88 | 0.955 | 1.025 | 1.09 | 1.14 | 1.19
Chart: Daikon Radish (250μl extract used)
| 0.0 | 15.0 | 30.0 | 45.0 | 60.0 | 75.0 | 90.0 | 105.0 | 120.0 | 135.0 | 150.0 | 165.0 | 180.0
 | 0 | 0.46 | 0.915 | 1.36 | 1.66 | 1.9 | 1.99 | 1.99 | 1.99 | 1.99 | 1.99 | 1.99 | 1.99
Chart: Broccoli
| 0.0 | 15.0 | 30.0 | 45.0 | 60.0 | 75.0 | 90.0 | 105.0 | 120.0 | 135.0 | 150.0 | 165.0 | 180.0
 | 0 | 0.295 | 0.622 | 0.87 | 1.15 | 1.31 | 1.44 | 1.56 | 1.72 | 1.9 | 1.99 | 1.99 | 1.99
Chart: Horseradish
| 0.0 | 15.0 | 30.0 | 45.0 | 60.0 | 75.0 | 90.0 | 105.0 | 120.0 | 135.0 | 150.0 | 165.0 | 180.0
Horseradish Absorbance | 0 | 0.296 | 0.53 | 0.688 | 0.815 | 0.96 | 1.045 | 1.14 | 1.23 | 1.31 | 1.38 | 1.46 | 1.52
Notes: Grady

## Slide 16: Extra slide: References
Weaver, G. C., Russell, C. B., Wink, D. J. Inquiry-based and research-based laboratory pedagogies in undergraduate science. Nature Chem. Bio. 2008. 4, 577-580
Lack of quantitative measures of effectiveness in implementing inquiry into undergraduate education
Beck, C., Butler, A., da Silva K.B. Promoting Inquiry-Based Teaching in Laboratory Courses: Are We There Yet. CBE Life Sci Educ. 2014. 13, 444-452
Navigating the challenges of introducing inquiry based labs into science curricula: Student attitudes, instructor workload, funding.
Facayode, S. O. Guided-inquiry laboratory experiments in the analytical chemistry laboratory curriculum. Anal Bioanal Chem 2014. 406, 1267–1271.
Stimulate student interest in science careers and retention in upper level science courses
Kerr, M. Yan, F. Incorporating Course-Based Undergraduate Research Experiences into Analytical Chemistry Laboratory Curricula. J. Chem. Educ. ASAP.
Karukstis, K. K. Reinvigorating the Undergraduate Experience with a Research-Supportive Curriculum. J. Chem. Educ. 2004, 81 (7),938.
Tomasik, J. H., Cottone, K. E., Heethius, M. T., Mueller, A. Development and Preliminary Impacts of the Implementation of an Authentic Research-Based Experiment in General Chemistry. J. Chem. Educ., 2013, 90 (9), 1155–1161
Notes: Grady